## Logbook
Convert to script | Series date | Proposal number | Sample ID | Instrument Operator | batch number | Instr. Background Date | Instr. Background Batch number | Disp. Background Date | Disp. Background File number | Displaced Volume Correction | Sample thickness | Sample pos | Measurement Protocol | Processing pipeline file | Notes | Est. Measurement time | END OF FIXED SECTION | Protocol keyword-value combination 1 | Protocol keyword-value combination 1 | Protocol keyword-value combination 2 | Protocol keyword-value combination 2
set True for every measurement to measure | For multi-day measurements, date of first day | required field. Fill in proposal first | samplenumber in the proposal | BAM username | sequence number of file | Date that the background was recorded | Starting file number that identifies the background to be subtracted | Date that the dispersant background was recorded (optional) | Starting file number that identifies the dispersant background to be subtracted | Correction factor for the displaced volume correction (DV). Enter matrix vol. fraction: has to be between 1 and 0, default 1. | sample thickness in meters, if not using x-ray absorption to estimate |  | The measurement prorocol to execute. This takes key-value arguments of all the columns in the logbook. | Path to the processing pipeline (beta) |  | estimated measurement time for this protocol in seconds. Used only for duration estimation |  | for protocol-specific key-value combinations, e.g. "temperature_setpoint" | for protocol-specific key-value combinations, e.g. "85"
converttoscript | date | Proposal | sampleid | User | batchnum | bgdate | bgnumber | dbgdate | dbgnumber | matrixfraction | samplethickness | sampos | protocol | procpipeline | notes |  |  | key1 | val1 | key2 | val2 | key3 | val3 | key4 | val4
1 | 2025-12-20 | 2025001 | 5 | testuser | 1 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B16 20251219 | measure_once | 20251010_nobg_logq.nxs | double tape | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 1 | testuser | 2 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B1 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 2 | testuser | 3 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B2 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 3 | testuser | 4 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B3 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 4 | testuser | 5 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B4 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 5 | testuser | 6 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B5 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 6 | testuser | 7 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B6 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 7 | testuser | 8 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B7 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 8 | testuser | 9 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B8 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 9 | testuser | 10 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B9 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 10 | testuser | 11 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B10 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 11 | testuser | 12 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B11 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 12 | testuser | 13 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B12 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 13 | testuser | 14 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B13 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-20 | 2025002 | 14 | testuser | 15 | 2025-12-20 | 1 |  |  | 1 | -1 | Cu B14 20251219 | measure_once | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025001 | 5 | testuser | 1 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C16 20251219 | standard_measurements | 20251010_nobg_logq.nxs | double tape | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025002 | 2 | testuser | 2 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C2 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025002 | 3 | testuser | 3 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C3 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025002 | 4 | testuser | 4 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C4 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025002 | 5 | testuser | 5 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C5 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025002 | 6 | testuser | 6 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C6 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025002 | 7 | testuser | 7 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C7 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025002 | 8 | testuser | 8 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C8 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025002 | 9 | testuser | 9 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C10 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025002 | 10 | testuser | 10 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C11 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | config_id | 160
1 | 2025-12-21 | 2025002 | 11 | testuser | 11 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C12 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | __json__ | {"configs":[123,125,127],"repeats":[1, 3, 7],"collate":"FORBID"}
1 | 2025-12-21 | 2025002 | 12 | testuser | 12 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C13 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | __json__ | {"configs":[123,125,127],"repeats":[1, 3, 7],"collate":"ALLOW"}
1 | 2025-12-21 | 2025002 | 13 | testuser | 13 | 2025-12-21 | 1 |  |  | 1 | -1 | Cu C14 20251219 | standard_measurements | 20251010_standard_logq.nxs |  | 21600 |  | __json__ | {"configs":[123,125,127],"repeats":[1, 3, 7],"collate":"ALLOW"}
Formulas:
Instr. Background Date = [Series date]
Instr. Background Date = [Instr. Background Date, row above]
Series date = [Series date, row above]

## Sample Environments
| sampos | xsam | ysam | zsam | ysam.blank | zsam.blank | zheavy | yawgi | rollgi | pitchgi
offset |  | 0 | 0 | 0 | explanation y-equation: =reference_y+(distance_from_reference*calibration_factor)+y_offset | equation explanation z: =reference_position+offset+(difference in y between reference and y pos)*tilt_factor
y_factor |  | 0 | 1 | -0.0106
Top | Cu A1 | 15.9283 | 57.06 | 0 | 70 | 0
| Cu A2 | 15.9377 | 46.06 | 0.1166 | 70 | 0.1166
| Cu A3 | 15.9377 | 35.06 | 0.2332 | 70 | 0.2332
| Cu A4 | 15.9424 | 18.56 | 0.4081 | 70 | 0.4081
| Cu A5 | 15.9377 | 7.56 | 0.5247 | -60 | 0.5247
| Cu A6 | 15.9423 | -8.94 | 0.6996 | -60 | 0.6996
| Cu A7 | 15.9377 | -19.94 | 0.8162 | -60 | 0.8162
| Cu A8 | 15.9377 | -30.94 | 0.9328 | -60 | 0.9328
| Cu A9 | 16.0783 | 57.06 | 11 | 70 | 11
| Cu A10 | 16.0975 | 46.06 | 11.1166 | 70 | 11.1166
| Cu A11 | 16.1161 | 35.06 | 11.2332 | 70 | 11.2332
| Cu A12 | 16.1348 | 24.06 | 11.3498 | 70 | 11.3498
| Cu A13 | 16.1722 | 2.06 | 11.583 | -60 | 11.583
| Cu A14 | 16.1909 | -8.94 | 11.6996 | -60 | 11.6996
| Cu A15 | 16.2097 | -19.94 | 11.8162 | -60 | 11.8162
| Cu A16 | 16.2283 | -30.94 | 11.9328 | -60 | 11.9328
| Cu Cap A | 16.9394 | 7 | 1.37 | 7 | 2.97
Cu LN A
Middle | Cu B1 | 15.8533 | 57.44 | 28.6 | 70 | 28.6
| Cu B2 | 15.8719 | 46.44 | 28.7166 | 70 | 28.7166
| Cu B3 | 15.8907 | 35.44 | 28.8332 | 70 | 28.8332
| Cu B4 | 15.919 | 18.94 | 29.0081 | 70 | 29.0081
| Cu B5 | 15.9377 | 7.94 | 29.1247 | -60 | 29.1247
| Cu B6 | 15.9658 | -8.56 | 29.2996 | -60 | 29.2996
| Cu B7 | 15.9846 | -19.56 | 29.4162 | -60 | 29.4162
| Cu B8 | 16.0033 | -30.56 | 29.5328 | -60 | 29.5328
| Cu B9 | 16.0033 | 57.44 | 39.6 | 70 | 39.6
| Cu B10 | 16.0126 | 46.44 | 39.7166 | 70 | 39.7166
| Cu B11 | 16.022 | 35.44 | 39.8332 | 70 | 39.8332
| Cu B12 | 16.0314 | 24.44 | 39.9498 | 70 | 39.9498
| Cu B13 | 16.0502 | 2.44 | 40.183 | -60 | 40.183
| Cu B14 | 16.0594 | -8.56 | 40.2996 | -60 | 40.2996
| Cu B15 | 16.0688 | -19.56 | 40.4162 | -60 | 40.4162
| Cu B16 | 16.0783 | -30.56 | 40.5328 | -60 | 40.5328
| Cu Cap B | 16.931 | 7 | 1.37 | 7 | 1.37
Cu LN B
Bottom | Cu C1 | 16.3783 | 57.57 | 57.13 | 70 | 57.13
| Cu C2 | 16.3867 | 46.57 | 57.2466 | 70 | 57.2466
| Cu C3 | 16.395 | 35.57 | 57.3632 | 70 | 57.3632
| Cu C4 | 16.4077 | 19.07 | 57.5381 | 70 | 57.5381
| Cu C5 | 16.416 | 8.07 | 57.6547 | -60 | 57.6547
| Cu C6 | 16.4285 | -8.43 | 57.8296 | -60 | 57.8296
| Cu C7 | 16.4369 | -19.43 | 57.9462 | -60 | 57.9462
| Cu C8 | 16.4453 | -30.43 | 58.0628 | -60 | 58.0628
| Cu C9 | 16.3783 | 57.57 | 68.13 | 70 | 68.13
| Cu C10 | 16.397 | 46.57 | 68.2466 | 70 | 68.2466
| Cu C11 | 16.4159 | 35.57 | 68.3632 | 70 | 68.3632
| Cu C12 | 16.4346 | 24.57 | 68.4798 | 70 | 68.4798
| Cu C13 | 16.472 | 2.57 | 68.713 | -60 | 68.713
| Cu C14 | 16.4907 | -8.43 | 68.8296 | -60 | 68.8296
| Cu C15 | 16.5094 | -19.43 | 68.9462 | -60 | 68.9462
| Cu C16 | 16.5283 | -30.43 | 69.0628 | -60 | 69.0628
| Cu Cap C | 17.413 | 13.57 | 59.5 | 13.57 | 57.5
| Cu LN C | 15 | 6 | 17 | 3 | 17
| Cu Blank | 16.5283 | 0 | 0 | 0 | 0
Solid 48
| Cu New Cap | 0.91597 | 1.5 | 26.12 | 1.5 | 21.12
|  | x_offset | y_center | z_center | Blank y | Blank z
offset |  | 0 | 0 | 0 | explanation y-equation: =reference_y+(distance_from_reference*calibration_factor)+y_offset | equation explanation z: =reference_position+offset+(difference in y between reference and y pos)*tilt_factor
y_factor |  | 0 | 1 | -0.0106
Top | Mo A1 | 15.9283 | 57.8 | -0.75 | 70 | -0.75
| Mo A2 | 15.9377 | 46.8 | -0.6334 | 70 | -0.6334
| Mo A3 | 15.9377 | 35.8 | -0.5168 | 70 | -0.5168
| Mo A4 | 15.9424 | 19.3 | -0.3419 | 70 | -0.3419
| Mo A5 | 15.9377 | 8.3 | -0.2253 | -60 | -0.2253
| Mo A6 | 15.9423 | -8.2 | -0.0504 | -60 | -0.0504
| Mo A7 | 15.9377 | -19.2 | 0.0662 | -60 | 0.0662
| Mo A8 | 15.9377 | -30.2 | 0.1828 | -60 | 0.1828
| Mo A9 | 16.0783 | 57.8 | 10.25 | 70 | 10.25
| Mo A10 | 16.0975 | 46.8 | 10.3666 | 70 | 10.3666
| Mo A11 | 16.1161 | 35.8 | 10.4832 | 70 | 10.4832
| Mo A12 | 16.1348 | 24.8 | 10.5998 | 70 | 10.5998
| Mo A13 | 16.1722 | 2.8 | 10.833 | -60 | 10.833
| Mo A14 | 16.1909 | -8.2 | 10.9496 | -60 | 10.9496
| Mo A15 | 16.2097 | -19.2 | 11.0662 | -60 | 11.0662
| Mo A16 | 16.2283 | -30.2 | 11.1828 | -60 | 11.1828
| Mo Cap A | 16.9394 | 7 | 1.37 | 7 | 2.97
Mo LN A
Middle | Mo B1 | 15.8533 | 58.05 | 27.9 | 70 | 27.9
| Mo B2 | 15.8719 | 47.05 | 28.0166 | 70 | 28.0166
| Mo B3 | 15.8907 | 36.05 | 28.1332 | 70 | 28.1332
| Mo B4 | 15.919 | 19.55 | 28.3081 | 70 | 28.3081
| Mo B5 | 15.9377 | 8.55 | 28.4247 | -60 | 28.4247
| Mo B6 | 15.9658 | -7.95 | 28.5996 | -60 | 28.5996
| Mo B7 | 15.9846 | -18.95 | 28.7162 | -60 | 28.7162
| Mo B8 | 16.0033 | -29.95 | 28.8328 | -60 | 28.8328
| Mo B9 | 16.0033 | 58.05 | 38.9 | 70 | 38.9
| Mo B10 | 16.0126 | 47.05 | 39.0166 | 70 | 39.0166
| Mo B11 | 16.022 | 36.05 | 39.1332 | 70 | 39.1332
| Mo B12 | 16.0314 | 25.05 | 39.2498 | 70 | 39.2498
| Mo B13 | 16.0502 | 3.05 | 39.483 | -60 | 39.483
| Mo B14 | 16.0594 | -7.95 | 39.5996 | -60 | 39.5996
| Mo B15 | 16.0688 | -18.95 | 39.7162 | -60 | 39.7162
| Mo B16 | 16.0783 | -29.95 | 39.8328 | -60 | 39.8328
| Mo Cap B | 16.931 | 7 | 1.37 | 7 | 1.37
Mo LN B
Bottom | Mo C1 | 16.3783 | 58.32 | 56.32 | 70 | 56.32
| Mo C2 | 16.3867 | 47.32 | 28.0137 | 70 | 28.0137
| Mo C3 | 16.395 | 36.32 | 28.1303 | 70 | 28.1303
| Mo C4 | 16.4077 | 19.82 | 28.3052 | 70 | 28.3052
| Mo C5 | 16.416 | 8.82 | 28.4218 | -60 | 28.4218
| Mo C6 | 16.4285 | -7.68 | 28.5967 | -60 | 28.5967
| Mo C7 | 16.4369 | -18.68 | 28.7133 | -60 | 28.7133
| Mo C8 | 16.4453 | -29.68 | 28.8299 | -60 | 28.8299
| Mo C9 | 16.3783 | 58.32 | 38.8971 | 70 | 38.8971
| Mo C10 | 16.397 | 47.32 | 39.0137 | 70 | 39.0137
| Mo C11 | 16.4159 | 36.32 | 39.1303 | 70 | 39.1303
| Mo C12 | 16.4346 | 25.32 | 39.2469 | 70 | 39.2469
| Mo C13 | 16.472 | 3.32 | 39.4801 | -60 | 39.4801
| Mo C14 | 16.4907 | -7.68 | 39.5967 | -60 | 39.5967
| Mo C15 | 16.5094 | -18.68 | 39.7133 | -60 | 39.7133
| Mo C16 | 16.5283 | -29.68 | 39.8299 | -60 | 39.8299
| Mo Cap C | 17.413 | 13.57 | 59.5 | 13.57 | 57.5
| Mo LN C | 15 | 6 | 17 | 3 | 17
| Mo Blank | 16.5283 | 70 | 67.9982 | 70 | 67.9982
| Cu Heat A | 5.185 | -9.3266 | 19.218 | 8 | 19.218
| Cu Heat B | 4.945 | -27.346 | 19.271 | 8 | 19.271
| Cu Heat C | 5.065 | -18.471 | 24.5 | 8 | 24.5
| Cu Heat Blank | 5.005 | 8 | 24.05 | 8 | 24.05
| GI test case | 12.56 | 10.1 |  | 22.4 |  | 5 | 6 | 7 | 8.12
NEW X CALIBRATION AFTER POWER OUTAGE 20251023
offset |  | -5.54 | 0 | 0 | explanation y-equation: =reference_y+(distance_from_reference*calibration_factor)+y_offset | equation explanation z: =reference_position+offset+(difference in y between reference and y pos)*tilt_factor
y_factor |  | 0 | 1 | -0.0106
Top | Cu A1 20251219 | 10.3883 | 50.585 | -2.517 | 70 | -2.517
| Cu A2 20251219 | 10.3977 | 39.585 | -2.4004 | 70 | -2.4004
| Cu A3 20251219 | 10.3977 | 28.585 | -2.2838 | 70 | -2.2838
| Cu A4 20251219 | 10.4024 | 12.085 | -2.1089 | 70 | -2.1089
| Cu A5 20251219 | 10.3977 | 1.085 | -1.9923 | -60 | -1.9923
| Cu A6 20251219 | 10.4023 | -15.415 | -1.8174 | -60 | -1.8174
| Cu A7 20251219 | 10.3977 | -26.415 | -1.7008 | -60 | -1.7008
| Cu A8 20251219 | 10.3977 | -37.415 | -1.5842 | -60 | -1.5842
| Cu A9 20251219 | 10.5383 | 50.585 | 8.483 | 70 | 8.483
| Cu A10 20251219 | 10.5575 | 39.585 | 8.5996 | 70 | 8.5996
| Cu A11 20251219 | 10.5761 | 28.585 | 8.7162 | 70 | 8.7162
| Cu A12 20251219 | 10.5948 | 17.585 | 8.8328 | 70 | 8.8328
| Cu A13 20251219 | 10.6322 | -4.415 | 9.066 | -60 | 9.066
| Cu A14 20251219 | 10.6509 | -15.415 | 9.1826 | -60 | 9.1826
| Cu A15 20251219 | 10.6697 | -26.415 | 9.2992 | -60 | 9.2992
| Cu A16 20251219 | 10.6883 | -37.415 | 9.4158 | -60 | 9.4158
| Cu Cap A 20251219 | 11.3994 | 7 | 1.37 | 7 | 2.97
Cu LN A 20251219
Middle | Cu B1 20251219 | 10.3133 | 51.01 | 25.996 | 70 | 25.996
| Cu B2 20251219 | 10.3319 | 40.01 | 26.1126 | 70 | 26.1126
| Cu B3 20251219 | 10.3507 | 29.01 | 26.2292 | 70 | 26.2292
| Cu B4 20251219 | 10.379 | 12.51 | 26.4041 | 70 | 26.4041
| Cu B5 20251219 | 10.3977 | 1.51 | 26.5207 | -60 | 26.5207
| Cu B6 20251219 | 10.4258 | -14.99 | 26.6956 | -60 | 26.6956
| Cu B7 20251219 | 10.4446 | -25.99 | 26.8122 | -60 | 26.8122
| Cu B8 20251219 | 10.4633 | -36.99 | 26.9288 | -60 | 26.9288
| Cu B9 20251219 | 10.4633 | 51.01 | 36.996 | 70 | 36.996
| Cu B10 20251219 | 10.4726 | 40.01 | 37.1126 | 70 | 37.1126
| Cu B11 20251219 | 10.482 | 29.01 | 37.2292 | 70 | 37.2292
| Cu B12 20251219 | 10.4914 | 18.01 | 37.3458 | 70 | 37.3458
| Cu B13 20251219 | 10.5102 | -3.99 | 37.579 | -60 | 37.579
| Cu B14 20251219 | 10.5194 | -14.99 | 37.6956 | -60 | 37.6956
| Cu B15 20251219 | 10.5288 | -25.99 | 37.8122 | -60 | 37.8122
| Cu B16 20251219 | 10.5383 | -36.99 | 37.9288 | -60 | 37.9288
| Cu Cap B 20251219 | 11.391 | 7 | 1.37 | 7 | 1.37
Cu LN B 20251219
Bottom | Cu C1 20251219 | 10.8383 | 51.34 | 54.592 | 70 | 54.592
| Cu C2 20251219 | 10.8467 | 40.34 | 54.7086 | 70 | 54.7086
| Cu C3 20251219 | 10.855 | 29.34 | 54.8252 | 70 | 54.8252
| Cu C4 20251219 | 10.8677 | 12.84 | 55.0001 | 70 | 55.0001
| Cu C5 20251219 | 10.876 | 1.84 | 55.1167 | -60 | 55.1167
| Cu C6 20251219 | 10.8885 | -14.66 | 55.2916 | -60 | 55.2916
| Cu C7 20251219 | 10.8969 | -25.66 | 55.4082 | -60 | 55.4082
| Cu C8 20251219 | 10.9053 | -36.66 | 55.5248 | -60 | 55.5248
| Cu C9 20251219 | 10.8383 | 51.34 | 65.592 | 70 | 65.592
| Cu C10 20251219 | 10.857 | 40.34 | 65.7086 | 70 | 65.7086
| Cu C11 20251219 | 10.8759 | 29.34 | 65.8252 | 70 | 65.8252
| Cu C12 20251219 | 10.8946 | 18.34 | 65.9418 | 70 | 65.9418
| Cu C13 20251219 | 10.932 | -3.66 | 66.175 | -60 | 66.175
| Cu C14 20251219 | 10.9507 | -14.66 | 66.2916 | -60 | 66.2916
| Cu C15 20251219 | 10.9694 | -25.66 | 66.4082 | -60 | 66.4082
| Cu C16 20251219 | 10.9883 | -36.66 | 66.5248 | -60 | 66.5248
| Cu Cap C 20251219 | 11.873 | 13.57 | 59.5 | 13.57 | 57.5
| Cu LN C 20251219 | 9.46 | 6 | 17 | 3 | 17
| Cu Blank 20251219 | 10.9883 | 0 | 0 | 0 | 0
Solid 48
| Cu New Cap 20251219 | -4.624 | 1.5 | 26.12 | 1.5 | 21.12
| Cu Cap C Blank 20251219 | 16.5283 | 0 | 0 | 0 | 0
|  | x_offset | y_center | z_center | Blank y | Blank z
offset |  | -5.54 | 0 | 0 | explanation y-equation: =reference_y+(distance_from_reference*calibration_factor)+y_offset | equation explanation z: =reference_position+offset+(difference in y between reference and y pos)*tilt_factor
y_factor |  | 0 | 1 | -0.0106
Top | Mo A1 20251219 | 10.3883 | 57.8 | -0.75 | 70 | -0.75
| Mo A2 20251219 | 10.3977 | 46.8 | -0.6334 | 70 | -0.6334
| Mo A3 20251219 | 10.3977 | 35.8 | -0.5168 | 70 | -0.5168
| Mo A4 20251219 | 10.4024 | 19.3 | -0.3419 | 70 | -0.3419
| Mo A5 20251219 | 10.3977 | 8.3 | -0.2253 | -60 | -0.2253
| Mo A6 20251219 | 10.4023 | -8.2 | -0.0504 | -60 | -0.0504
| Mo A7 20251219 | 10.3977 | -19.2 | 0.0662 | -60 | 0.0662
| Mo A8 20251219 | 10.3977 | -30.2 | 0.1828 | -60 | 0.1828
| Mo A9 20251219 | 10.5383 | 57.8 | 10.25 | 70 | 10.25
| Mo A10 20251219 | 10.5575 | 46.8 | 10.3666 | 70 | 10.3666
| Mo A11 20251219 | 10.5761 | 35.8 | 10.4832 | 70 | 10.4832
| Mo A12 20251219 | 10.5948 | 24.8 | 10.5998 | 70 | 10.5998
| Mo A13 20251219 | 10.6322 | 2.8 | 10.833 | -60 | 10.833
| Mo A14 20251219 | 10.6509 | -8.2 | 10.9496 | -60 | 10.9496
| Mo A15 20251219 | 10.6697 | -19.2 | 11.0662 | -60 | 11.0662
| Mo A16 20251219 | 10.6883 | -30.2 | 11.1828 | -60 | 11.1828
| Mo Cap A 20251219 | 11.3994 | 7 | 1.37 | 7 | 2.97
Mo LN A 20251219
Middle | Mo B1 20251219 | 10.3133 | 58.05 | 27.9 | 70 | 27.9
| Mo B2 20251219 | 10.3319 | 47.05 | 28.0166 | 70 | 28.0166
| Mo B3 20251219 | 10.3507 | 36.05 | 28.1332 | 70 | 28.1332
| Mo B4 20251219 | 10.379 | 19.55 | 28.3081 | 70 | 28.3081
| Mo B5 20251219 | 10.3977 | 8.55 | 28.4247 | -60 | 28.4247
| Mo B6 20251219 | 10.4258 | -7.95 | 28.5996 | -60 | 28.5996
| Mo B7 20251219 | 10.4446 | -18.95 | 28.7162 | -60 | 28.7162
| Mo B8 20251219 | 10.4633 | -29.95 | 28.8328 | -60 | 28.8328
| Mo B9 20251219 | 10.4633 | 58.05 | 38.9 | 70 | 38.9
| Mo B10 20251219 | 10.4726 | 47.05 | 39.0166 | 70 | 39.0166
| Mo B11 20251219 | 10.482 | 36.05 | 39.1332 | 70 | 39.1332
| Mo B12 20251219 | 10.4914 | 25.05 | 39.2498 | 70 | 39.2498
| Mo B13 20251219 | 10.5102 | 3.05 | 39.483 | -60 | 39.483
| Mo B14 20251219 | 10.5194 | -7.95 | 39.5996 | -60 | 39.5996
| Mo B15 20251219 | 10.5288 | -18.95 | 39.7162 | -60 | 39.7162
| Mo B16 20251219 | 10.5383 | -29.95 | 39.8328 | -60 | 39.8328
| Mo Cap B 20251219 | 11.391 | 7 | 1.37 | 7 | 1.37
Mo LN B 20251219
Bottom | Mo C1 20251219 | 10.8383 | 58.32 | 56.32 | 70 | 56.32
| Mo C2 20251219 | 10.8467 | 47.32 | 28.0137 | 70 | 28.0137
| Mo C3 20251219 | 10.855 | 36.32 | 28.1303 | 70 | 28.1303
| Mo C4 20251219 | 10.8677 | 19.82 | 28.3052 | 70 | 28.3052
| Mo C5 20251219 | 10.876 | 8.82 | 28.4218 | -60 | 28.4218
| Mo C6 20251219 | 10.8885 | -7.68 | 28.5967 | -60 | 28.5967
| Mo C7 20251219 | 10.8969 | -18.68 | 28.7133 | -60 | 28.7133
| Mo C8 20251219 | 10.9053 | -29.68 | 28.8299 | -60 | 28.8299
| Mo C9 20251219 | 10.8383 | 58.32 | 38.8971 | 70 | 38.8971
| Mo C10 20251219 | 10.857 | 47.32 | 39.0137 | 70 | 39.0137
| Mo C11 20251219 | 10.8759 | 36.32 | 39.1303 | 70 | 39.1303
| Mo C12 20251219 | 10.8946 | 25.32 | 39.2469 | 70 | 39.2469
| Mo C13 20251219 | 10.932 | 3.32 | 39.4801 | -60 | 39.4801
| Mo C14 20251219 | 10.9507 | -7.68 | 39.5967 | -60 | 39.5967
| Mo C15 20251219 | 10.9694 | -18.68 | 39.7133 | -60 | 39.7133
| Mo C16 20251219 | 10.9883 | -29.68 | 39.8299 | -60 | 39.8299
| Mo Cap C 20251219 | 11.873 | 13.57 | 59.5 | 13.57 | 57.5
| Mo LN C 20251219 | 9.46 | 6 | 17 | 3 | 17
| Mo Blank 20251219 | 10.9883 | 70 | 67.9982 | 70 | 67.9982
| Map A A1 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A A2 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A A3 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A A4 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A A5 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A A6 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A A7 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A A8 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A A9 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A A10 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A B1 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A B2 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A B3 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A B4 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A B5 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A B6 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A B7 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A B8 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A B9 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A B10 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A C1 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A C2 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A C3 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A C4 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A C5 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A C6 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A C7 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A C8 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A C9 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A C10 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A D1 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A D2 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A D3 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A D4 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A D5 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A D6 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A D7 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A D8 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A D9 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A D10 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A E1 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A E2 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A E3 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A E4 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A E5 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A E6 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A E7 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A E8 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A E9 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A E10 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A F1 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A F2 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A F3 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A F4 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A F5 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A F6 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A F7 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A F8 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A F9 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A F10 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A G1 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A G2 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A G3 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A G4 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A G5 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A G6 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A G7 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A G8 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A G9 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A G10 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A H1 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A H2 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A H3 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A H4 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A H5 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A H6 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A H7 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A H8 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A H9 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A H10 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A I1 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A I2 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A I3 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A I4 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A I5 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A I6 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A I7 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A I8 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A I9 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A I10 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A J1 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A J2 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A J3 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A J4 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A J5 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A J6 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A J7 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A J8 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A J9 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A J10 | 0 | 46.9 | 26.774 | 66 | 26.774
| Map A Blank | 18.9905 | 66 | 55.206 | 66 | 55.206
| Map B A1 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B A2 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B A3 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B A4 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B A5 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B A6 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B A7 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B A8 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B A9 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B A10 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B B1 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B B2 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B B3 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B B4 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B B5 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B B6 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B B7 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B B8 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B B9 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B B10 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B C1 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B C2 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B C3 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B C4 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B C5 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B C6 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B C7 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B C8 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B C9 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B C10 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B D1 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B D2 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B D3 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B D4 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B D5 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B D6 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B D7 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B D8 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B D9 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B D10 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B E1 | 0 | 5.6 | 27.174 | 66 | 27.174
| Map B E2 | 0 | 5.6 | 27.174 | 66 | 27.174
| Map B E3 | 0 | 5.6 | 27.174 | 66 | 27.174
| Map B E4 | 0 | 5.6 | 27.174 | 66 | 27.174
| Map B E5 | 0 | 5.6 | 27.174 | 66 | 27.174
| Map B E6 | 0 | 5.6 | 27.174 | 66 | 27.174
| Map B E7 | 0 | 5.6 | 27.174 | 66 | 27.174
| Map B E8 | 0 | 5.6 | 27.174 | 66 | 27.174
| Map B E9 | 0 | 5.6 | 27.174 | 66 | 27.174
| Map B E10 | 0 | 5.6 | 27.174 | 66 | 27.174
| Map B F1 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B F2 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B F3 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B F4 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B F5 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B F6 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B F7 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B F8 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B F9 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B F10 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B G1 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B G2 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B G3 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B G4 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B G5 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B G6 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B G7 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B G8 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B G9 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B G10 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B H1 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B H2 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B H3 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B H4 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B H5 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B H6 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B H7 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B H8 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B H9 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B H10 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B I1 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B I2 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B I3 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B I4 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B I5 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B I6 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B I7 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B I8 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B I9 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B I10 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B J1 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B J2 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B J3 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B J4 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B J5 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B J6 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B J7 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B J8 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B J9 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B J10 | 0 | 5.6 | 27.174 | -54 | 27.174
| Map B Blank | 18.9905 | 66 | 54.8 | 66 | 54.8
| Map C A1 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C A2 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C A3 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C A4 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C A5 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C A6 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C A7 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C A8 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C A9 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C A10 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C B1 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C B2 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C B3 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C B4 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C B5 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C B6 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C B7 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C B8 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C B9 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C B10 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C C1 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C C2 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C C3 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C C4 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C C5 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C C6 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C C7 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C C8 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C C9 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C C10 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C D1 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C D2 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C D3 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C D4 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C D5 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C D6 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C D7 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C D8 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C D9 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C D10 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C E1 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C E2 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C E3 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C E4 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C E5 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C E6 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C E7 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C E8 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C E9 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C E10 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C F1 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C F2 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C F3 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C F4 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C F5 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C F6 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C F7 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C F8 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C F9 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C F10 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C G1 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C G2 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C G3 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C G4 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C G5 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C G6 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C G7 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C G8 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C G9 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C G10 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C H1 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C H2 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C H3 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C H4 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C H5 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C H6 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C H7 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C H8 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C H9 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C H10 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C I1 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C I2 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C I3 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C I4 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C I5 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C I6 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C I7 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C I8 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C I9 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C I10 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C J1 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C J2 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C J3 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C J4 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C J5 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C J6 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C J7 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C J8 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C J9 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C J10 | 0 | -34.31 | 55.3 | -54 | 55.3
| Map C Blank | 18.9905 | 66 | 55.206 | -54 | 55.206
|  | xsam | ysam | zsam | ysam | zsam
| Squid Pen A1 | 18.9905 | 33.1 | 56 | 68 | 56
| Squid Pen A2 | 18.9905 | 35.1 | 56 | 68 | 56
| Squid Pen A3 | 18.9905 | 37.1 | 56 | 68 | 56
| Squid Pen A4 | 18.9905 | 39.1 | 56 | 68 | 56
| Squid Pen A5 | 18.9905 | 41.1 | 56 | 68 | 56
| Squid Pen A6 | 18.9905 | 43.1 | 56 | 68 | 56
| Squid Pen A7 | 18.9905 | 45.1 | 56 | 68 | 56
| Squid Pen A8 | 18.9905 | 47.1 | 56 | 68 | 56
| Squid Pen A9 | 18.9905 | 49.1 | 56 | 68 | 56
| Squid Pen A10 | 18.9905 | 51.1 | 56 | 68 | 56
| Squid Pen A11 | 18.9905 | 53.1 | 56 | 68 | 56
|  | xsam | ysam | zsam | ysam | zsam
| Squid Pen B1 | 18.9905 | 1.35 | 56 | 68 | 56
| Squid Pen B2 | 18.9905 | 2.85 | 56 | 68 | 56
| Squid Pen B3 | 18.9905 | 4.35 | 56 | 68 | 56
| Squid Pen B4 | 18.9905 | 5.85 | 56 | 68 | 56
| Squid Pen B5 | 18.9905 | 7.35 | 56 | 68 | 56
| Squid Pen B6 | 18.9905 | 8.85 | 56 | 68 | 56
| Squid Pen B7 | 18.9905 | 10.35 | 56 | 68 | 56
| Squid Pen B8 | 18.9905 | 11.85 | 56 | 68 | 56
| Squid Pen B9 | 18.9905 | 13.35 | 56 | 68 | 56
| Squid Pen B10 | 18.9905 | 14.85 | 56 | 68 | 56
| Squid Pen B11 | 18.9905 | 16.35 | 56 | 68 | 56
|  | xsam | ysam | zsam | ysam | zsam
| Squid Pen C1 | 18.9905 | -26 | 54 | -54 | 54
| Squid Pen C2 | 18.9905 | -25 | 54 | -54 | 54
| Squid Pen C3 | 18.9905 | -24 | 54 | -54 | 54
| Squid Pen C4 | 18.9905 | -23 | 54 | -54 | 54
| Squid Pen C5 | 18.9905 | -22 | 54 | -54 | 54
| Squid Pen C6 | 18.9905 | -21 | 54 | -54 | 54
| Squid Pen C7 | 18.9905 | -20 | 54 | -54 | 54
| Squid Pen C8 | 18.9905 | -19 | 54 | -54 | 54
| Squid Pen C9 | 18.9905 | -18 | 54 | -54 | 54
| Squid Pen C10 | 18.9905 | -17 | 54 | -54 | 54
| Squid Pen C11 | 18.9905 | -16 | 54 | -54 | 54
| Squid Pen Blank | 18.9905 | -54 | 56 | -54 | 56
| Map A Mg E1 | 0 | -32 | 0.5 | -51 | 0.5
| Map A Mg E2 | 0 | -32 | 0.5 | -51 | 0.5
| Map A Mg E3 | 0 | -32 | 0.5 | -51 | 0.5
| Map A Mg E4 | 0 | -32 | 0.5 | -51 | 0.5
| Map A Mg E5 | 0 | -32 | 0.5 | -51 | 0.5
| Map A Mg E6 | 0 | -32 | 0.5 | -51 | 0.5
| Map A Mg E7 | 0 | -32 | 0.5 | -51 | 0.5
| Map A Mg E8 | 0 | -32 | 0.5 | -51 | 0.5
| Map A Mg E9 | 0 | -32 | 0.5 | -51 | 0.5
| Map A Mg E10 | 0 | -32 | 0.5 | -51 | 0.5
| Map A Mg Blank | 18.9905 | -51 | 0.5 | -51 | 0.5
| Map A Mg F1 | 0 | -18 | 11.5 | -51 | 11.5
| Map A Mg F2 | 0 | -18 | 11.5 | -51 | 11.5
| Map A Mg F3 | 0 | -18 | 11.5 | -51 | 11.5
| Map A Mg F4 | 0 | -18 | 11.5 | -51 | 11.5
| Map A Mg F5 | 0 | -18 | 11.5 | -51 | 11.5
| Map A Mg F6 | 0 | -18 | 11.5 | -51 | 11.5
| Map A Mg F7 | 0 | -18 | 11.5 | -51 | 11.5
| Map A Mg F8 | 0 | -18 | 11.5 | -51 | 11.5
| Map A Mg F9 | 0 | -18 | 11.5 | -51 | 11.5
| Map A Mg F10 | 0 | -18 | 11.5 | -51 | 11.5
| Map A Mg F Blank | 18.9905 | -51 | 11.5 | -51 | 11.5
| Map A Mg G1 | 0 | 36 | 10.7 | 66 | 10.7
| Map A Mg G2 | 0 | 36 | 10.7 | 66 | 10.7
| Map A Mg G3 | 0 | 36 | 10.7 | 66 | 10.7
| Map A Mg G4 | 0 | 36 | 10.7 | 66 | 10.7
| Map A Mg G5 | 0 | 36 | 10.7 | 66 | 10.7
| Map A Mg G6 | 0 | 36 | 10.7 | 66 | 10.7
| Map A Mg G7 | 0 | 36 | 10.7 | 66 | 10.7
| Map A Mg G8 | 0 | 36 | 10.7 | 66 | 10.7
| Map A Mg G9 | 0 | 36 | 10.7 | 66 | 10.7
| Map A Mg G10 | 0 | 36 | 10.7 | 66 | 10.7
| Map A Mg G Blank | 18.9905 | 66 | 10.7 | 66 | 10.7
| Cu Liquid Heat A | 13 | -14.82 | 29.48 | -60 | 29.48
| Cu Liquid Heat B | 13.2 | 3.25 | 29.44 | -60 | 29.44
| Cu Liquid Heat C | 13.1 | -5.82 | 34.56 | -60 | 34.56
| Cu Heat Blank | 13.15 | -60 | 29.44 | -60 | 29.44
| Pauls Ecell | 4.2 | -11.91 | 4.41 | 48.09 | 4.41
| Pauls Ecell Blank | 4.2 | 48.09 | 4.41 | 48.09 | 4.41
| Knuts Ecell | 4.2 | -10.926 | 3.61 | 48.09 | 3.61
| Knuts Ecell Blank | 4.2 | 48.09 | 3.61 | 48.09 | 3.61
|  | xsam | ysam | zsam | ysam | zsam
| Cu GI1 | 0 | -101.3141 |  | 70 |  | 3.5 | 45 | 0 | 0
| Cu GI2 | 0 | -69.3141 |  | 70 |  | 3.5 | 45 | 0 | 0
| Cu GI3 | 0 | -37.3141 |  | 70 |  | 3.5 | 45 | 0 | 0
| Cu GI4 | 0 | -5.3141 |  | 70 |  | 3.5 | 45 | 0 | 0
| Cu GI5 | 0 | 26.6859 |  | 70 |  | 3.5 | 45 | 0 | 0
| Cu GI blank | 0 | 70 |  | 70 |  | 3.5 | 45 | 0 | 0
| Cu Liquid Heat A 20251215 | 13 | -20.7 | 26.77 | -60 | 26.77
| Cu Liquid Heat B 20251215 | 13.2 | -2.7 | 26.77 | -60 | 26.77
| Cu Liquid Heat C 20251215 | 13.1 | -11.7 | 31.8 | -60 | 31.8
| Cu Heat Blank 20251215 | 13.15 | -60 | 26.77 | -60 | 26.77